# UNDERGROUND RACEWAYS (KDOT Supplement)

Updated: 10/1/2025

This specification is intended to supplement the IDOT special provision 810.02 TS for Kane County Projects. In places of Conflict, this specification shall supersede:

Revise Article 810.04 of the Standard Specifications and to read:

“Installation. All underground conduits shall have a minimum depth of 36-inches (900 mm) below finished grade. Underground conduits containing fiber optic cable shall have a minimum depth of 42-inches (1050 mm). Lesser conduit depths may be approved by the engineer.”